## Slide 1: NNR REPORT
NNR ACTIVITIES AT THE NECSA PELINDABA SITE - PSIF
14 September 2024
Mr. Wesley Damon, Acting Programme Manager: NTWP

## Slide 2
Contents
Inspections Conducted
Environmental Sampling
Radiological Exposure
Reviews and Assessments Conducted

## Slide 3: Inspections for Q1 2024/2025 FY
26 Inspections were conducted
25 Planned inspections
1 Shutdown at SAFARI-1
3 Unannounced Inspections
1 Unplanned Inspection
(The unplanned/unscheduled shutdown of SAFARI-1 to install a Neutron Detector and to commission Neutron Safety Channel).

## Slide 4: Inspections for Q1 2024/2025 FY cont.
19 Facilities were inspected.
9 Inspections found no non-compliances.
17 Inspections found 102 non-compliances.
All 102 non-compliances were of category 2 events
(Category 2 events are events which result or could potentially result in moderate nuclear or radiological safety and/or nuclear security consequences)

## Slide 5: Inspections for Q2 2024/2025 FY
30 Planned inspections
1 Shutdown at SAFARI-1
2 Unannounced Inspections
No major issues at this stage.

## Slide 6: Environmental Sampling for Q1 2024/2025 FY
12 Environmental samples collected, and
Submitted to the NNR Laboratory for analysis
Analysis confirmed no buildup of radioactivity in the environment

## Slide 7: Radiological Exposure for Q1 2024/2025 FY
Average effective radiation dose for the worker was 0.11 mSv
Maximum cumulative dose accrued for an individual worker was 4.82 mSv
Rolling year average dose was 0.49 mSv
Rolling year maximum dose was 7.08 mSv
Public dose from liquid effluent was 0.263 µSv and from gaseous effluent was 0.514 µSv
Total projected public dose was 0.777 µSv

## Slide 8: Review and Assessment for Q1 2024/2025 FY
52 x Planned Reviews
  SAFARI-1 Research Reactor
  UCHEM in Building P2700
  Import of Fissile Material
  X-ray Facility in Area 14
  Wet Waste Storage Facility in Cabel Tunnel
  Shipment and Disposal of Historical NTP Liquid Waste Solidification Waste Packages at Vaalputs
  Resumption of J-Building Radiological Characterisation Activities
  NTP Radiochemicals Complex
  Process Based Licensing

## Slide 9: Review and Assessment for Q2 2024/2025 FY
60 x Planned Reviews
  SAFARI-1 Research Reactor
  UCHEM in Building P2700
  Import of Fissile Material
  Area 14 Waste Management Complex
  V-XB Pelindaba East Bus Shed Complex
  Pelindaba East Evaporation Ponds
  Shipment and Disposal of Historical NTP Liquid Waste Solidification Waste Packages at Vaalputs
  Vaalputs
  Phase 3 Decommissioning of Building P-2800
  NTP Radiochemicals Complex
  Amendments to Conditions of Authorisation
  Process Based Licensing

## Slide 10: Thabana Pipestore
NNR has decided that further public debate is not warranted.
Necsa was directed to publish their responses to public comments on the Necsa website and forward the responses to all members registered with the Necsa PSIF.
Necsa has been granted six (6) months to address the outstanding issues related to funding for decommissioning and waste management.

## Slide 11: Thank you