## Slide 1: NNR REPORT
NNR ACTIVITIES AT THE NECSA PELINDABA SITE - PSIF
23 November 2024
Mr. Wesley Damon, Acting Programme Manager: NTWP

## Slide 2
Contents
Inspections Conducted
Environmental Sampling
Radiological Exposure
Reviews and Assessments Conducted

## Slide 3: Inspections for Q2 2024/2025 FY
30 planned inspections were conducted
1 Shutdown at SAFARI-1
0 Unannounced Inspections
0 Unplanned Inspection

## Slide 4: Inspections for Q2 2024/2025 FY cont.
24 Facilities were inspected.
18 Inspections found no non-compliances.
12 Inspections found 47 non-compliances.
All 47 non-compliances were of category 2 events
(Category 2 events are events which result or could potentially result in moderate nuclear or radiological safety and/or nuclear security consequences)

## Slide 5: Inspections for Q3 2024/2025 FY
15 Planned inspections
1 Shutdown inspection at SAFARI-1
1 Unannounced Inspections
1 Unplanned Inspection
(Unplanned inspection was conducted at the K009 facility)
No major issues at this stage.

## Slide 6: Environmental Sampling for Q2 2024/2025 FY
6 Environmental samples collected, and
Submitted to the NNR Laboratory for analysis
Analysis confirmed no buildup of radioactivity in the environment

## Slide 7: Radiological Exposure for Q1 2024/2025 FY
Average effective radiation dose for the worker was 0,14 mSv
Maximum cumulative dose accrued for an individual worker was 2,47 mSv
Rolling year average dose was 0.46 mSv
Rolling year maximum dose was 6,50 mSv
Public dose from liquid effluent was 0,597 µSv and from gaseous effluent was 0,332 µSv
Total projected public dose was 0,929 µSv

## Slide 8: Review and Assessment for Q2 2024/2025 FY
60 x Planned Reviews
  SAFARI-1 Research Reactor
  UCHEM in Building P2700
  Thabana Complex
  Area 14 Waste Management Complex
  V-XB Pelindaba East Bus Shed Complex
  Pelindaba East Evaporation Ponds
  Shipment and Disposal of Historical NTP Liquid Waste Solidification Waste Packages at Vaalputs
  Vaalputs
  NTP Radiochemicals Complex
  Process Based Licensing

## Slide 9: Thank you